Specifications for NBS Chorus

Evverlap Fibre Cement & VitraFix Flat Plank System

SUMMARY

Evverlap boards are factory-manufactured fibre cement weatherboard elements designed for installation as a flat plank rainscreen system.

System type: Fibre cement flat plank rainscreen façade system

Fixing method: Face-fixed using visible mechanical fixings

Fire rating: A2-s1,d0 in accordance with BS EN 13501-1 (subject to full system build-up)

Manufacturer: Valcan with approved partner system components

Warranty: Up to 10 years

Typical applications: Residential, commercial, low- and high-rise façades

Standards: BS 8414-1 / BS 8414-2 tested carrier system, CWCT assessed

CONTENTS

| EVVERLAP FLAT PLANK WEATHERBOARD RAINSCREEN SYSTEM | P 4-5 |
| --- | --- |
| System description |  |
| Panel description |  |
| Performance |  |
| Finish and colour |  |
| Application |  |
| Specifiers notes – Evverlap | P 6 |
| VITRAFIX ALUMINIUM CARRIER SYSTEM OVERVIEW | P 7-8 |
| System description |  |
| Performance and compliance |  |
| System options |  |
| Application |  |
| Specifiers notes | P 8 |
| TYPICAL DRAWINGS | P 9-10 |
| Evverlap Horizontal Flat Plank Section |  |
| Everlap Vertical Flat Plank Section |  |
| TECHNICAL SCHEDULE | P 10 – 14 |
| System summary |  |
| Primary cladding details |  |
| Panel Fixings and stiffening |  |
| Carrier System – Primary Support |  |
| Horizontal rails (if required) |  |
| Joints and tolerances |  |
| Cavity and ventilation |  |
| Ancillary components |  |
| Masonry fixings (if required) |  |
| TECHNICAL DOWNLOADS | P 15 |
| ADDITIONAL RESOURCES | P 16 |
| Contact details | P 17 |

EVVERLAP FLAT PLANK WEATHERBOARD RAINSCREEN SYSTEM

SYSTEM DESCRIPTON

Evverlap is a classified A2 fibre cement weatherboard rainscreen system designed to replicate the natural appearance of timber cladding while delivering enhanced durability and fire performance.

In this configuration, boards are installed as a flat plank façade system without overlap, creating a clean, contemporary appearance.

Boards are mechanically fixed to the supporting substructure using visible fixings, such as colour-matched rivets or screws, aligned with the carrier system.

The system retains the visual qualities of timber cladding, including textured and timber-effect finishes, while offering the performance benefits of fibre cement.

PANEL DESCRIPTION

Evverlap planks are factory-manufactured fibre cement weatherboard elements designed for horizontal installation in a flat plank configuration

- Product: Evverlap

- Material: Fibre cement planks

- Fire classification: A2-s1,d0 to BS EN 13501-1

- Thickness: 8 mm (standard; other thicknesses available on request)

- Weight: ~12 kg/m² (based on 8 mm plank)

- Panel size: 3657 × 210 mm

- Installation: Plank configuration (non-overlapping)

- Fixing method: Face-fixed using visible mechanical fixings (colour-matched rivets or screws)

- Surface: Embossed timber effect (e.g. teak woodgrain)

Planks may be supplied in a range of colours and finishes, including timber-effect coatings to replicate natural materials.

PERFORMANCE

Fire performance: A2-s1,d0 classified façade panel in accordance with BS EN 13501-1.  Suitable for use within external wall systems designed to meet the requirements of Approved Document B, subject to full system design, substrate and project-specific fire strategy.

Fixing visibility: Designed to incorporate visible fixing patterns as part of the façade aesthetic.

Weathering: Drained and ventilated rainscreen design allows effective management of moisture through open joints and cavity ventilation

Durability: High resistance to weathering and environmental exposure

Impact resistance: Suitable for use in residential and commercial applications

Resistance: Highly resistant to rot, insect attack and fungal degradation, unlike traditional timber systems

Maintenance: Low maintenance, with no requirement for re-staining as would be required for natural timber

Installation performance: Lightweight, easy to cut and install using standard tools

FINISH AND COLOUR

Planks are factory finished using durable, high-performance coating systems designed for long-term colour stability and resistance to weathering and pollutants

- Coating: Water based paint

- Performance: High resistance to UV, weathering and pollutants

- Colour range: Standard solid and stained colours plus bespoke colours available

Maintenance requirements are minimal, with periodic cleaning recommended. Planks may be overpainted if required to refresh or update the façade appearance

Final finish and colour selection must be confirmed at enquiry stage to align with warranty terms.

APPLICATION

Typical applications include:

- Residential developments

- Commercial buildings

- Mixed-use projects

- Façades requiring a timber-effect aesthetic with non-combustible A2-s1,d0 performance

The system is particularly suited to projects seeking a traditional timber plank appearance combined with the durability, longevity and low maintenance of fibre cement compared to natural timber

Specifiers notes:

Plank/board Layout:

Planks are installed horizontally in a flat plank configuration. Layout must be coordinated to suit façade setting out, joint alignment and fixing grid.

Fixing Strategy:

Face-fixed system using visible colour-matched mechanical fixings. Fixing pattern to be agreed as part of the façade design.

Visual Consistency:

Fixing alignment and joint layout must be maintained consistently across elevations.

Cavity Requirements:

Ventilated cavity to be provided behind planks in accordance with CWCT guidance and fire strategy

VITRAFIX ALUMINIUM CARRIER SYSTEM OVERVIEW

The following carrier system details describe a typical aluminium support system suitable for non-combustible and A2-s1,d0 classified rainscreen façade systems, illustrated using the VitraFix carrier system.

SYSTEM DESCRIPTION

VitraFix VF1 is an aluminium carrier system comprising brackets, rails and fixings designed to support non-combustible rainscreen façade systems, including A2-s1,d0 classified weatherboard systems such as Evverlap.

The system provides adjustability, structural support and compatibility with a wide range of substrates.

PERFORMANCE AND COMPLIANCE

Fire performance: Tested to BS 8414-1 and BS 8414-2 as part of an external wall system.

Structural assessment: CWCT tested (subject to project-specific calculations).

Durability: Aluminium components designed for long-term external use.

Warranty: A system warranty is available when specified and installed in accordance with manufacturer’s requirements.

SYSTEM OPTIONS

VitraFix VF1 – Primary Bracket System

VitraFix VF1 is an adjustable aluminium bracket system designed to accommodate variations in substrate tolerance and cavity depth.

- Adjustability: 102–235 mm

- Application: Direct bracket fixing to structural substrate

- Extensions: Additional depth may be achieved by incorporating the VitraFix VF2 system components.

- Options: Custom bracket depths are available subject to project requirements.

VF1 is typically used as the primary carrier system for mechanically fixed rainscreen façade systems, including overlapping weatherboard systems.

VitraFix VF2 – Rail and Secondary Support System

VitraFix VF2 comprises aluminium or steel top-hats and C-channel rails designed to provide additional system depth or allow brackets to be installed independently of stud locations.

- Enables alignment of the carrier system where stud positions are restrictive

- Can be used to increase overall system build-up depth

- Top-hats may be used independently as an alternative to timber batten sub-grids

VF2 components may be used in conjunction with VF1 brackets or as part of a secondary support arrangement, subject to design requirements.

APPLICATION

The VitraFix carrier system is suitable for use with non-combustible and A2-s1,d0 classified façade systems on residential, commercial and mixed-use buildings. Final system selection, bracket spacing and fixing strategy shall be determined by project-specific structural and wind load calculations.

Specifier’s Notes:

Bracket type, spacing and material selection to be confirmed based on substrate, cavity depth and wind load calculations.

Movement joints and tolerance allowances to be incorporated in façade design to accommodate thermal expansion, substrate movement and building deflection.

TYPICAL DETAILS

Details shown are indicative only and shall be developed to suit project‑specific geometry, substrate and fire strategy.

EVVERLAP HORIZONTAL FLAT PLANK SECTION

EVVERLAP VERTICAL FLAT PLANK SECTION

All Technical Details can be found at https://valcan.co.uk/wp-content/uploads/2025/07/EVVERLAP-TECHNICAL-DRAWINGS.zip  or on request by contacting enquiries@valcan.co.uk

TECHNICAL SCHEDULE

Purpose of this schedule

This Technical Schedule provides detailed system components and reference information to support detailed design, coordination and installation.

Final configuration, sizing and fixing arrangements shall be confirmed by project-specific calculations and manufacturer approval.

1. SYSTEM SUMMARY

- Façade system: Evverlap Plank System

- System type: Flat plank Flat Plank System

- Carrier system: VitraFix VF1 (VF2 where required)

- Fire classification (system intent): A2-s1,d0 in accordance with BS EN 13501-1

Standards: BS EN 13501-1, CWCT, BS 8414 (Informational summary only – see sections below for component detail)

2. PRIMARY CLADDING DETAILS

Product reference: Evverlap Flat Planks/Weatherboards

Manufacturer: Fairview Europe t/a Valcan

Product name: Evverlap

Material: Fibre Cement

Thickness and Weight:

- Thickness: 8 mm (standard; other thicknesses available on request)

- Weight (kg/m²): ~12 kg/m²

Panel Dimensions:

- 3657 × 210 mm

- Installed horizontally

Fire Performance:

- A2-s1,d0 to BS EN 13501-1

3. PANEL FIXING

3.1 PRIMARY PANEL FIXINGS

|  | Rail/fixing type | Reference | Sizes |
| --- | --- | --- | --- |
|  | Vitrafix A4 stainless steel rivet, colour matched to panel | VFR4.820C | 4.8 × 20 mm rivet |

- Edge distance: 16–50 mm

- Fixing centres: Max. 600 mm (wind load dependant)

3.2 ACCESSORIES

|  | Type | Reference |
| --- | --- | --- |
|  | Centralising Tool | VFCT74.9 |
|  | Rivet Nosepiece Adapter (to prevent over tightening) | VFNPR/16 |

4. CARRIER SYSTEM

Carrier system reference: VitraFix VF1

- Manufacturer: Fairview Europe t/a Valcan

Material: Aluminium

System Description: Brief description of role within façade build-up

|  | Bracket Reference | Size | Adjustment Range |
| --- | --- | --- | --- |
|  | VF140DB | 65 mm-260 mm double bracket | 142–172 mm |
|  | VF140SB | 65mm-260 mm single bracket | 142–172mm |

4.1 BRACKETS

Bracket selection and spacing subject to structural and wind load calculations.

4.2 THERMAL/ISOLATION PADS

|  | Bracket Reference | Size | Adjustment Range |
| --- | --- | --- | --- |
|  | VFIPDB | Double bracket thermal pad | 3 mm |
|  | VFIPSB | Single bracket thermal pad | 3mm |

5. HORIZONTAL RAILS (IF APPLICABLE)

System reference: VitraFix VF2

Purpose: VF2/U attached to SFS locations allowing brackets to be installed in isolation to stud location

Typical Applications: Not required for masonry

5.1 RAILS AND FIXINGS

|  | Rail/fixing type | Reference | Sizes |
| --- | --- | --- | --- |
|  | U-Rail | VF2/U | 90x15x2mm / 174x15x2mm |
|  | VitraFix Self Drill Hex head with washer | VFSD.538/A4 | 5.5x38mm |
|  | VitraFix Self Drill Hex head | VFSD4.825 (See manufacturers details for fixing centres) | 4.8x25mm, 8mm |

6. JOINTS AND TOLERANCES

Panel Joint Type:

- Typical joint width 8-10mm

- Open joints

7. CAVITY AND VENTILATION

Cavity Depth: Minimum 50 mm open‑joint installation, measured from face of insulation to rear of panel. May be reduced by up to 50% at fire barrier locations

Ventilation Strategy: Open joint rainscreen in accordance with CWCT guidance

8. ANCILLARY COMPONENTS

8.1 SHEATHING BOARDS

- Product reference: ProcellaPro

- Panel size: 2500 x 1250mm

- Thickness/weight: 12 mm / 21.6 kg/m²

- Fire Rating to BS EN  13501-1:	A1

- Manufacturer: Fairview Europe t/a Valcan

8.2 FIXINGS

|  | Rail/fixing type | Reference | Sizes |
| --- | --- | --- | --- |
|  | VitraFix Self Drill ProcellaPro WT fixing | VFSDPP4.838/WT | 4.8x38mm |

8.3 FIRE BARRIERS

Product reference:

- Open state horizontal barrier

- Non-ventilated vertical barrier

Fire performance:

- Insulation:

- Integrity:

Manufacturer: Valcan partner manufacturer of fire barriers

Fixings: Fire tested fixings to be advised by Valcan to equivalent performance of fire barrier, fixing reference dictated by substrate.

8.4 BREATHER MEMBRANE

- Product reference: Valcan partner manufacturer Breather Membrane

- Fire performance (BS EN 13501-1): A1 or A2

8.5 INSULATION

- Product reference: Valcan partner manufacturer of insulation

- Thickness: TBC

- Thermal Performance: 0.034 w/mK

- Fire performance (BS EN 13501-1): A1

9. MASONRY FIXINGS (IF REQUIRED)

Masonry / Concrete Fixings:

- ETA-approved, fire-rated fixings

- Pull-out testing to confirm suitability by Valcan partners

10. COORDINATION AND QUALIFICATIONS

- All interfaces with windows, doors, movement joints and adjacent systems to be fully coordinated at detailed design stage.

- Final fixing layouts, bracket spacing and component selection subject to manufacturer’s calculations and approval.

- Installation to be carried out in accordance with manufacturer’s current installation guidance.

TECHNICAL DOWNLOADS

Evverlap Product Brochure – July 2025

Evverlap Typical Drawings

Evverlap A2 Classification Fire Report

Evverlap Declaration of Performance (DoP)

ADDITIONAL RESOURCES & SUPPORT

| REGISTER FOR OUR FREE ACCREDITED CPD SEMINARS Valcan offer free CPD sessions throughout the year which are dedicated to sharing our experiences and helping you to make the correct choices for your building projects. The CPD program explains the safe cladding solutions available and how to comply with current regulations and illustrates the correct build ups to achieve the government standards. |  |
| --- | --- |
| ON-SITE TOOLBOX TALKS Valcan Toolbox Talks are delivered on site to support safe, compliant installation and reinforce best practice throughout the construction process. These sessions provide clear, practical guidance on system installation, handling, and building safety considerations, helping ensure consistent standards, informed operatives and a strong on‑site safety culture. |  |
| ORDER FREE PRODUCT SAMPLES Order up to three free samples from our website. See them up close, compare finishes, and find the perfect match for your next project with confidence. We offer colour-matching services for your specific needs. Provide us with the code or a sample and we'll match it while meeting your design requirements. |  |
| TECHNICAL SERVICES Valcan offer a wide range of technical services to support project design and system installation. In depth NBS Specifications, project specific CAD drawings, photographic overlays, U-values and condensation / humidity risk analysis documents are all readily available via our website. |  |
| QUALITY, ENVIRONMENTAL AND INFORMATION STANDARDS Valcan is certified to ISO 9001 and ISO 14001, confirming independently audited quality and environmental management systems that support consistent performance and responsible operations. The organisation is also CCPI Verified, demonstrating a commitment to clear, accurate and transparent construction product information in line with current building safety expectations. |  |

For more information visit www.valcan.co.uk/support/ or contact the team on:

01278 428245 or email enquiries@valcan.co.uk

FAIRVIEW EUROPE T/A VALCAN

Dunball House, Woodlands Court Business Park

Bristol Road, Bridgwater, Somerset TA6 4FJ

Telephone: 01278 428245

Email: enquiries@valcan.co.uk

Web: www.valcan.co.uk